# Physical / Chemical Analysis- Karingal Yalloc monitoring (Leonie & Tony Morgan and Greg Morgan)

| Site Code: | YDI 847 (Karingal Yalloc) |
| --- | --- |
|  | ~20m East of Susan St, Eltham Melway ref. 21 H7 |
| Site Code: | YDI 838 (Karingal Yalloc) |
|  | near Fort Knox Self-Storage Melway ref. 21 G5 |
| Monitoring | Date: 6/12/16 | Time: 14:30 (YDI 838) and 14:45 (YDI 847) |

| Parameter | calib | YDI 838 (Fort Knox) | YDI 847 (Susan Street) |
| --- | --- | --- | --- |
| Ammonium mg / L NH4+ |  | 0.15 at 24.3(C |  | 2x 0.5 = 1.0 at 22.9(C | dilute 1:1 and filter |
| Dissolved Oxygen mg / L |  | - |  | 6 |  |
| Temperature (WATER) (C |  | 21.9(C |  | 19.4(C |  |
| Temperature (AIR) (C |  | 22.3(C |  | 22.5(C |  |
| pH pH units | Y | 6.3 |  | 6.3 |  |
| Electrical Conductivity μS/cm | Y | 480 |  | 670 |  |
| Reactive phosphate mg / L P |  | 0.15 at 24(C |  | 2x 0.2 = 0.4 at 23.5(C | dilute 1:1 and filter |
| Turbidity NTU |  | 27 |  | 50 |  |
| Observations |  |  |
| Weather: cloudy Rainfall: during the last week [4.8mm] YDI 838 (Fort Knox) YDI 847 (Susan Street) |
| Estimate of flow: Medium Water appearance: Clear Stream depth: 20 cm Stream width: 0.75 metres Water flowing from drains: N (Circumstantial hazard and additional risks) Litter and pollutants: paper Comments: The site was fairly clear of rubbish this month | Estimate of flow: Medium Water appearance: Muddy Oily Stream depth: 20 cm Stream width: 2 to 5 metres Water flowing from drains: N (Circumstantial hazard and additional risks Litter and pollutants: cans oil paper other Comments: Ammonium and Phosphate were very high … test solutions needed to be diluted 1:1 to get a reading Turbidity was also high, so filtering was required pre-Ammonium and pre-Phosphate testing. EC was significantly higher compared with upstream at the Fort Knox site, although pH results were the same at both sites. The car tyre was still there again this month, and also a bicycle wheel. |