|  |  |
| --- | --- |
| **Site Details**  | **Test Details** Date: 1.6.2017Time: 10:45 AM PM Person(s) Conducting the Survey *I* Test: C RoschollerName of Monitoring Group:  |
| Site Code:  **TRA 006** |
| Site Name: Traralgon Creek at Atherley Close, Traralgon |
| Site Grid Reference  | Easting: 459832 |
| Northing: 5771713 |
|  |  |  |  |
|  |  |  |

 **West Gippsland Waterwatch Volunteer Water Quality Monitoring Data Sheet**
 **Post: West Gippsland Waterwatch
 Reply Paid 1374 Traralgon 3844 or Fax: 51757899**

|  |  |
| --- | --- |
| **Your Meter** - **Reading Before Calibration (when** in **CAL Mode)**  | **Your Meter** - **Reading Post Calibration (after pressing the ENT button)**  |
| **EC Meter** 1410 | **EC Meter** 1410 |
| **pH Meter in 7.01** 7.5 **pH Meter in 4.01** 4.1 | **pH Meter in 7.01** 7.0 **pH Meter in 4.01** 4.0  |
| **Water Condition** Flood/Overbank Bankfull High Medium ✓ Low Stagnant Pools Dry Permanent  |

|  |
| --- |
| **Test Results**  |
| Water Temperature  | 11.5 °C  |
| Air Temperature  | 12.4 °C  |
| pH  | 6.7 |
| Electrical Conductivity  | 510 µS ✓ mS  |
| Reactive Phosphorus  |  0.00 mg/L P  |
| Turbidity  | 21 N.T.U.  |
| Dissolved Oxygen:  |  mg/L %  |

**Last Rainfall**

More than a week ago

During the last week

During the last 24 hours ✓

Raining Now

Amount of rain: 1 mm

**Drains**

Drain flowing

Drain not flowing✓

**Weather Conditions at Time of Sampling**

Sunny Cloudy Overcast ✓ Raining Windy

**Water Appearance**

Clear Muddy ✓ Milky Foamy / Frothy Stained Green

Stained Brown Smelly Scummy Oily Other:

**Any Comments for Your Facilitator?**