Community Stream Sampling Group: MIDWEST Project: Mid WEST Waterways (MIDWESTW) Monitoring Network: Sunday Creek / Dry Creek Network Site Code: NAN010 Nanny’s Creek at Kilmore East – Sunday Creek Rd NAN015 Nanny’s Creek at Broadford – Wandong Rd

| Site Code | Date | Time | Sampler | Water Condition (please choose 1 description from table below) | Rainfall (last 48hrs, mm) | Water Temp (OC) | Salinity (EC's µs/cm) | Turbidity (NTU's) | Flow (ML/day) please enter DRY if waterway is dry or slow, med, fast or similar | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NAN010 | 21/11/16 | 4.30 PM | Allan Stute | Steady | Zero | 26.6 | 890 | 35 | Slow |  |
| NAN015 | 21/11/16 | 4.30 PM | Allan Stute | Steady | Zero | 25.6 | 1080 | 18 | Slow |  |

Water Condition can be described as:

| Rising | Stagnant (not moving/still) |
| --- | --- |
| Steady | Dry |
| Falling | Peak (of event) |

Calibration Record for Electrical Conductivity Meter

Meter ID: Belongs to SC/DC Landcare Gp Serial No.			Calibration with Standard : 1413 µs/cm

Please insert reading for the calibration standard BEFORE you press the “CAL” button to demonstrate any instrumental drift.

| Date | Before Calibration (EC - µs/cm) | After Calibration (EC - µs/cm) | Temperature (º C) | Sampler |
| --- | --- | --- | --- | --- |
| 21/11/16 |  | 1410 | 27.3 | Allan Stute |

Calibrate the salinity meter each day before you do sample testing.

Please post or email results to:                  Kirsten Hogan, 135 Highlands Rd, Seymour 3660 or email montoaction@iinet.net.au