# Physical / Chemical Analysis      Karingal Yalloc monitoring  (Leonie & Tony Morgan)

| Site Code: | YDI 847 (Karingal Yalloc) |
| --- | --- |
|  | ~20m East of Susan St, Eltham Melway ref. 21 H7 |
| Site Code: | YDI 838 (Karingal Yalloc) |
|  | near Fort Knox Self-Storage Melway ref. 21 G5 |
| Monitoring | Date: 7-2-2017 | Time: 14:55 (YDI 838) and 15:05 (YDI 847) |

| Parameter | calib | YDI 838 (Fort Knox) | YDI 847 (Susan Street) |
| --- | --- | --- | --- |
| Ammonium mg / L NH4+ |  | 0.02 at 25.3(C |  | 0.03 at 25.1(C |  |
| Dissolved Oxygen mg / L |  | - |  | 7 |  |
| Temperature (WATER) (C |  | 23.8(C |  | 23.1(C |  |
| Temperature (AIR) (C |  | 27.5(C |  | 29.9(C |  |
| pH pH units | Y | 7.5 |  | 7.7 |  |
| Electrical Conductivity μS/cm | Y | 310 |  | 350 |  |
| Reactive phosphate mg / L P |  | 0.05 at 25.5(C |  | 0.10 at 25.0(C |  |
| Turbidity NTU |  | 40 |  | 60 |  |
| Observations |  |  |
| Weather: sunny Rainfall: During the last week [ 29.4mm] YDI 838 (Fort Knox) YDI 847 (Susan Street) |
| Estimate of flow: Medium Water appearance: Muddy Stream depth: 25 cm Stream width: 75 cm Water flowing from drains: N Litter and pollutants: bottles cans paper plastic Comments: Both sites had quite a bit of rubbish high up in the vegetation along the banks, left by the recent heavy rain. Turbidity was high. When it reads 40 or more I have been in the habit of filtering before testing Phosphate and Ammonium, but apparently this is not advisable unless it’s done routinely at every monitoring, so from now on I’ll not do so. | Estimate of flow: Medium Water appearance: Muddy Oily Stream depth: 25 cm Stream width: 4 metres Water flowing from drains: N Litter and pollutants: clothing oil paper plastic cardboard other Comments: Both sites had quite a bit of rubbish high up in the vegetation along the banks, left by the recent heavy rain. There was also a bicycle in the waterway, with lots of washed-down vegetation caught in it. Turbidity was very high. When it reads 40 or more I have been in the habit of filtering before testing Phosphate and Ammonium, but apparently this is not advisable unless it’s done routinely at every monitoring, so from now on I’ll not do so. |