# Physical / Chemical Analysis      Karingal Yalloc monitoring  (Leonie & Tony Morgan)

| Site Code: | YDI 847 (Karingal Yalloc) |
| --- | --- |
|  | ~20m East of Susan St, Eltham Melway ref. 21 H7 |
| Site Code: | YDI 838 (Karingal Yalloc) |
|  | near Fort Knox Self-Storage Melway ref. 21 G5 |
| Monitoring | Date: 22/08/2017 | Time: 11:30am (YDI 838) and 11:45am (YDI 847) |

| Parameter | calib | YDI 838 (Fort Knox) | YDI 847 (Susan Street) |
| --- | --- | --- | --- |
| Ammonium mg / L NH4+ |  | 0.10 at 24.7(C |  | 0.10 at 22.6(C |  |
| Dissolved Oxygen mg / L |  | - |  | 7 |  |
| Temperature (WATER) (C |  | 9.2(C |  | 9.8(C |  |
| Temperature (AIR) (C |  | 16.1(C |  | 12.5(C |  |
| pH pH units | Y | - | * omitted | - | * omitted |
| Electrical Conductivity μS/cm | Y | 370 |  | 420 |  |
| Reactive phosphate mg / L P |  | 0.06 at 24.7(C |  | 0.15 at 21.1(C |  |
| Turbidity NTU |  | 30 |  | 35 |  |
| Observations |  |  |
| Weather: sunny Rainfall: During the last week [22.0mm] YDI 838 (Fort Knox) YDI 847 (Susan Street) |
| Estimate of flow: Medium Water appearance: Milky Stream depth: 22 cm Stream width: 75 cm Water flowing from drains: N Litter and pollutants: paper plastic Comments: The site was relatively clean this visit. There were a couple of (apparently subcontracted) workmen mowing and whipper-snipping the area. Unable to do pH testing this time … pH meter is faulty; awaiting a replacement. | Estimate of flow: Medium Water appearance: Milky Foamy/frothy Stream depth: 20 cm Stream width: 4 metres Water flowing from drains: N Litter and pollutants: bottles cans packets paper plastic other Comments: There was a car tyre by the edge. The grass and weeds on the bank were browning off a bit … possibly due to the frosts we’ve had? Some frothiness on the surface as the water emerged from underground. Unable to do pH testing this time … pH meter is faulty; awaiting a replacement. |