# Physical / Chemical Analysis      Karingal Yalloc monitoring  (Leonie & Tony Morgan)

| Site Code: | YDI 847 (Karingal Yalloc) |
| --- | --- |
|  | ~20m East of Susan St, Eltham Melway ref. 21 H7 |
| Site Code: | YDI 838 (Karingal Yalloc) |
|  | near Fort Knox Self-Storage Melway ref. 21 G5 |
| Monitoring | Date: 21/02/2018 | Time: 2:05pm (YDI 838) and 2:20pm (YDI 847) |

| Parameter | calib | YDI 838 (Fort Knox) | YDI 847 (Susan Street) |
| --- | --- | --- | --- |
| Ammonium mg / L NH4+ |  | 0.01 at 23.1(C |  | 0.40 at 22.5(C | high |
| Dissolved Oxygen mg / L |  | - |  | 6 |  |
| Temperature (WATER) (C |  | 19.9(C |  | 19.5(C |  |
| Temperature (AIR) (C |  | 26.8(C |  | 27.3(C |  |
| pH pH units | Y | 7.5 |  | 8.2 |  |
| Electrical Conductivity μS/cm | Y | 540 |  | 600 |  |
| Reactive phosphate mg / L P |  | 0.05 at 22.9(C |  | 0.08 at 22.5(C |  |
| Turbidity NTU |  | 14 |  | <9 |  |
| Observations |  |  |
| Weather: overcast Rainfall: During the last week [0.4mm] YDI 838 (Fort Knox) YDI 847 (Susan Street) |
| Estimate of flow: Medium \ Water appearance: Clear Stream depth: 30 cm Stream width: 0.75 metres Water flowing from drains: N (Circumstantial hazard and additional risks) Litter and pollutants: cans Comments: The waterway was very clogged with reeds and water plants. Little rubbish today. | Estimate of flow: Medium Water appearance: Clear Oily Stream depth: 25 cm Stream width: 2 to 5 metres Water flowing from drains: N (Circumstantial hazard and additional risks Litter and pollutants: cans packets paper plastic Comments: Although the water was relatively clear, there was a brown (algal?) coating over the stream bed and the submerged rocks, etc. The level of Ammonium was significantly higher here at Susan St (YDI 847) today than it was upstream at Fort Knox (YDI 838) |