# Physical / Chemical Analysis      Karingal Yalloc monitoring  (Leonie & Tony Morgan)

| Site Code: | YDI 847 (Karingal Yalloc) |
| --- | --- |
|  | ~20m East of Susan St, Eltham Melway ref. 21 H7 |
| Site Code: | YDI 838 (Karingal Yalloc) |
|  | near Fort Knox Self-Storage Melway ref. 21 G5 |
| Monitoring | Date: 10/08/2019 | Time: 2:20pm (YDI 838) and 2:45pm (YDI 847) |

| Parameter | calib | YDI 838 (Fort Knox) | YDI 847 (Susan Street) |
| --- | --- | --- | --- |
| Ammonium mg / L NH4+ |  | 0.0 at 21.8(C | filtered | 0.0 at 21.3(C | filtered |
| Dissolved Oxygen mg / L |  | - |  | 8 |  |
| Temperature (WATER) (C |  | 10.0(C |  | 9.9(C |  |
| Temperature (AIR) (C |  | 13.3(C |  | 13.2(C |  |
| pH pH units | Y | 7.9 |  | 7.7 |  |
| Electrical Conductivity μS/cm | Y | 150 |  | 140 |  |
| Reactive phosphate mg / L P |  | 0.02 at 19.6(C | filtered | 0.05 at 21.1(C | filtered |
| Turbidity NTU |  | 60 |  | 70 |  |
| Observations |  |  |
| Weather: sunny Rainfall: During the last week [ 22mm] During the last 24hrs [ 5.6mm] YDI 838 (Fort Knox) YDI 847 (Susan Street) |
| Estimate of flow: High Water appearance: Muddy Stream depth: 45 cm Stream width: 0.75 metres Water flowing from drains: Y Colour __________ Odour _______________ Litter and pollutants: bottles cans plastic Comments: Ammonium and Phosphate levels were very good. Turbidity was high. Samples filtered before testing. Flow and depth were significantly more than usual. | Estimate of flow: High Water appearance: Muddy Stream depth: 40 cm Stream width: 4 metres Water flowing from drains: Y Colour __________ Odour _______________ Litter and pollutants: bottles cans paper plastic other Comments: Ammonium and Phosphate levels were very good. Turbidity was high. Samples filtered before testing. Amongst the litter there was also a small (child’s?) supermarket trolley, a large fluoro tube, and quite a few balls of various sizes. Flow and depth were significantly more than usual. |