# Physical / Chemical Analysis      Karingal Yalloc monitoring  (Leonie & Tony Morgan)

| Site Code: | YDI 847 (Karingal Yalloc) |
| --- | --- |
|  | ~20m East of Susan St, Eltham Melway ref. 21 H7 |
| Site Code: | YDI 838 (Karingal Yalloc) |
|  | near Fort Knox Self-Storage Melway ref. 21 G5 |
| Monitoring | Date: 02/04/2020 | Time: 9:00am (YDI 838) |

| Parameter | calib | YDI 838 (Fort Knox) |  |
| --- | --- | --- | --- |
| Ammonium mg / L NH4+ |  |  |  |  |  |
| Dissolved Oxygen mg / L |  |  |  |  |  |
| Temperature (WATER) (C |  |  |  |  |  |
| Temperature (AIR) (C |  |  |  |  |  |
| pH pH units | Y |  |  |  |  |
| Electrical Conductivity μS/cm | Y | 170 |  |  |  |
| Reactive phosphate mg / L P |  |  |  |  |  |
| Turbidity NTU |  |  |  |  |  |
| Observations |  |  |
| Weather: overcast Rainfall: During the last 24hrs [25mm] YDI 838 (Fort Knox) |
| Estimate of flow: Flood/ overbank Water appearance: Muddy Stream depth: n/a Stream width: n/a Water flowing from drains: Y Colour __________ Odour _______________ Comments: As there had just been substantial rainfall, I decided to check the EC in order to compare with my last measurement at this site, which was also just after substantial rainfall (19/02/2020). The 19/2 reading had been extremely high, and looked suspiciously like an error (?) Today’s reading was 170 μS/cm, ie relatively normal. So the mystery from 19/2 still remains a mystery. |  |